## Comparison Summary
D&L PQ-01 v1.2 - Comparison Summary
Sample IDs:
Metric | Sample 1 | Sample 2 | Difference (S2-S1) | Interpretation
Overall mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Holes mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Apertures mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Pins mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Walls mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Reference mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Z Edge mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Round boss mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Profile cylinder mean absolute error |  |  |  | Lower is better; mean magnitude of dimensional error in the group.
Holes mean signed error |  |  |  | Negative means holes are undersize on average.
Pins mean signed error |  |  |  | Negative means standard pins are undersize on average.
Round boss ovality |  |  |  | Absolute X-Y diameter difference at the controlled mid-height plane.
C12 lower mean diameter |  |  |  | Mean X/Y diameter at 3.0 mm above base top.
C12 mid mean diameter |  |  |  | Mean X/Y diameter at 7.5 mm above base top.
C12 upper mean diameter |  |  |  | Mean X/Y diameter at 12.0 mm above base top.
C12 upper-lower change |  |  |  | Signed axial diameter change; positive means larger at the upper plane.
C12 max axial range |  |  |  | Maximum diameter spread across all C12 planes and axes.
C12 max ovality |  |  |  | Largest X-Y difference at any C12 height plane.
Maximum absolute error |  |  |  | Largest single recorded absolute dimensional error.

## Sample 1
D&L PQ-01 v1.2 - Dimensional Qualification Record
Blue text = user input. Black = calculated. All dimensions in mm. Repeat readings are reseated measurements at the same prescribed plane.
Sample ID | PQ01-X1C-04 |  | Printer | Bambu Lab X1C |  | Nozzle diameter (mm) | 0.4 |  | Layer height (mm) | 0.2
Material / filament |  |  | Slicer / profile |  |  | Nozzle temp (C) |  |  | Bed temp (C)
Date
MEASUREMENT CONTROL: Standard pins and R20 are measured at the defined MID plane (5.0 mm above the base top). For C12 use the LOWER/MID/UPPER planes shown in the guide. Do not mix measurement heights between repeats.
Group | Feature ID | Axis / metric | Nominal | Reading 1 | Reading 2 | Reading 3 | Mean measured | Error | Abs error | Error % | Notes
Overall | Overall X | X | 140 | [7 empty] | External jaws across straight left/right outer faces; avoid rounded corners.
Overall | Overall Y | Y | 90 | [7 empty] | External jaws across straight front/rear outer faces; avoid rounded corners.
Overall | Base thickness | Z | 3 | [7 empty] | Underside to base top on unobstructed plate area.
Holes | H2 | X | 2 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H2 | Y | 2 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H2.5 | X | 2.5 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H2.5 | Y | 2.5 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3 | X | 3 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3 | Y | 3 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3.5 | X | 3.5 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3.5 | Y | 3.5 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H4 | X | 4 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H4 | Y | 4 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H4.5 | X | 4.5 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H4.5 | Y | 4.5 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H5 | X | 5 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H5 | Y | 5 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H6 | X | 6 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H6 | Y | 6 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H8 | X | 8 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H8 | Y | 8 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H10 | X | 10 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H10 | Y | 10 | [7 empty] | Internal diameter measured in printer Y direction.
Apertures | A1 Square | X | 10 | [7 empty] | Internal width of square aperture.
Apertures | A1 Square | Y | 10 | [7 empty] | Internal height of square aperture.
Apertures | A2 Rectangle | X | 8 | [7 empty] | Internal width of rectangular aperture.
Apertures | A2 Rectangle | Y | 14 | [7 empty] | Internal height of rectangular aperture.
Pins | P2 | X | 2 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P2 | Y | 2 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P3 | X | 3 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P3 | Y | 3 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P4 | X | 4 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P4 | Y | 4 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P5 | X | 5 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P5 | Y | 5 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P6 | X | 6 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P6 | Y | 6 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P8 | X | 8 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P8 | Y | 8 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P10 | X | 10 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P10 | Y | 10 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Walls | W0.4 | Thickness | 0.4 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W0.6 | Thickness | 0.6 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W0.8 | Thickness | 0.8 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W1.0 | Thickness | 1 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W1.2 | Thickness | 1.2 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Reference | RB | X | 20 | [7 empty] | Reference block X dimension.
Reference | RB | Y | 20 | [7 empty] | Reference block Y dimension.
Reference | RB | Z | 10 | [7 empty] | Base top to reference block top.
Reference | LB | X | 40 | [7 empty] | Long-span bar X length across end faces.
Z Edge | Z1 | Height | 1 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z2 | Height | 2 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z4 | Height | 4 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z6 | Height | 6 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z10 | Height | 10 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Round boss | R20 | X | 20 | [7 empty] | Diameter at MID plane: 5.0 mm above base top, printer X direction.
Round boss | R20 | Y | 20 | [7 empty] | Diameter at MID plane: 5.0 mm above base top, printer Y direction.
Profile cylinder | C12 LOWER | X | 12 | [7 empty] | Diameter at LOWER plane: 3 mm above base top, printer X direction.
Profile cylinder | C12 LOWER | Y | 12 | [7 empty] | Diameter at LOWER plane: 3 mm above base top, printer Y direction.
Profile cylinder | C12 MID | X | 12 | [7 empty] | Diameter at MID plane: 7.5 mm above base top, printer X direction.
Profile cylinder | C12 MID | Y | 12 | [7 empty] | Diameter at MID plane: 7.5 mm above base top, printer Y direction.
Profile cylinder | C12 UPPER | X | 12 | [7 empty] | Diameter at UPPER plane: 12 mm above base top, printer X direction.
Profile cylinder | C12 UPPER | Y | 12 | [7 empty] | Diameter at UPPER plane: 12 mm above base top, printer Y direction.

## Sample 2
D&L PQ-01 v1.2 - Dimensional Qualification Record
Blue text = user input. Black = calculated. All dimensions in mm. Repeat readings are reseated measurements at the same prescribed plane.
Sample ID | PQ01-H2D-04 |  | Printer | Bambu Lab H2D |  | Nozzle diameter (mm) | 0.4 |  | Layer height (mm) | 0.2
Material / filament |  |  | Slicer / profile |  |  | Nozzle temp (C) |  |  | Bed temp (C)
Date
MEASUREMENT CONTROL: Standard pins and R20 are measured at the defined MID plane (5.0 mm above the base top). For C12 use the LOWER/MID/UPPER planes shown in the guide. Do not mix measurement heights between repeats.
Group | Feature ID | Axis / metric | Nominal | Reading 1 | Reading 2 | Reading 3 | Mean measured | Error | Abs error | Error % | Notes
Overall | Overall X | X | 140 | [7 empty] | External jaws across straight left/right outer faces; avoid rounded corners.
Overall | Overall Y | Y | 90 | [7 empty] | External jaws across straight front/rear outer faces; avoid rounded corners.
Overall | Base thickness | Z | 3 | [7 empty] | Underside to base top on unobstructed plate area.
Holes | H2 | X | 2 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H2 | Y | 2 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H2.5 | X | 2.5 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H2.5 | Y | 2.5 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3 | X | 3 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3 | Y | 3 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3.5 | X | 3.5 | [7 empty] | Internal diameter measured in printer X direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H3.5 | Y | 3.5 | [7 empty] | Internal diameter measured in printer Y direction. Indicative with standard caliper internal jaws; pin gauges preferred.
Holes | H4 | X | 4 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H4 | Y | 4 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H4.5 | X | 4.5 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H4.5 | Y | 4.5 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H5 | X | 5 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H5 | Y | 5 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H6 | X | 6 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H6 | Y | 6 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H8 | X | 8 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H8 | Y | 8 | [7 empty] | Internal diameter measured in printer Y direction.
Holes | H10 | X | 10 | [7 empty] | Internal diameter measured in printer X direction.
Holes | H10 | Y | 10 | [7 empty] | Internal diameter measured in printer Y direction.
Apertures | A1 Square | X | 10 | [7 empty] | Internal width of square aperture.
Apertures | A1 Square | Y | 10 | [7 empty] | Internal height of square aperture.
Apertures | A2 Rectangle | X | 8 | [7 empty] | Internal width of rectangular aperture.
Apertures | A2 Rectangle | Y | 14 | [7 empty] | Internal height of rectangular aperture.
Pins | P2 | X | 2 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P2 | Y | 2 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P3 | X | 3 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P3 | Y | 3 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P4 | X | 4 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P4 | Y | 4 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P5 | X | 5 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P5 | Y | 5 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P6 | X | 6 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P6 | Y | 6 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P8 | X | 8 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P8 | Y | 8 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P10 | X | 10 | [7 empty] | External diameter in X at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Pins | P10 | Y | 10 | [7 empty] | External diameter in Y at MID plane: 5.0 mm above base top. Reseat caliper for each repeat.
Walls | W0.4 | Thickness | 0.4 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W0.6 | Thickness | 0.6 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W0.8 | Thickness | 0.8 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W1.0 | Thickness | 1 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Walls | W1.2 | Thickness | 1.2 | [7 empty] | Wall thickness at mid-length, upper half, away from base junction.
Reference | RB | X | 20 | [7 empty] | Reference block X dimension.
Reference | RB | Y | 20 | [7 empty] | Reference block Y dimension.
Reference | RB | Z | 10 | [7 empty] | Base top to reference block top.
Reference | LB | X | 40 | [7 empty] | Long-span bar X length across end faces.
Z Edge | Z1 | Height | 1 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z2 | Height | 2 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z4 | Height | 4 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z6 | Height | 6 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Z Edge | Z10 | Height | 10 | [7 empty] | Enter TOTAL thickness from coupon underside to pad top; workbook subtracts measured base thickness.
Round boss | R20 | X | 20 | [7 empty] | Diameter at MID plane: 5.0 mm above base top, printer X direction.
Round boss | R20 | Y | 20 | [7 empty] | Diameter at MID plane: 5.0 mm above base top, printer Y direction.
Profile cylinder | C12 LOWER | X | 12 | [7 empty] | Diameter at LOWER plane: 3 mm above base top, printer X direction.
Profile cylinder | C12 LOWER | Y | 12 | [7 empty] | Diameter at LOWER plane: 3 mm above base top, printer Y direction.
Profile cylinder | C12 MID | X | 12 | [7 empty] | Diameter at MID plane: 7.5 mm above base top, printer X direction.
Profile cylinder | C12 MID | Y | 12 | [7 empty] | Diameter at MID plane: 7.5 mm above base top, printer Y direction.
Profile cylinder | C12 UPPER | X | 12 | [7 empty] | Diameter at UPPER plane: 12 mm above base top, printer X direction.
Profile cylinder | C12 UPPER | Y | 12 | [7 empty] | Diameter at UPPER plane: 12 mm above base top, printer Y direction.

## Instructions
PQ-01 v1.2 Workbook Instructions
Purpose | Record repeatable dimensional measurements from PQ-01 v1.2 and compare the X1C 0.4 mm and H2D 0.4 mm baseline configurations.
Blue cells | User-entered metadata and measurements.
Repeat readings | Reading 1/2/3 are independent reseatings at the same prescribed measurement plane; they are not top/mid/bottom readings.
Standard pins | P2-P10 are 10 mm high. Measure X and Y at the MID plane, 5.0 mm above the base top.
Round boss | R20 is 10 mm high. Measure X and Y at the MID plane, 5.0 mm above the base top.
Profile cylinder | C12 is a nominal 12 mm x 15 mm cylinder. Measure X/Y at LOWER 3.0 mm, MID 7.5 mm and UPPER 12.0 mm above the base top.
Small holes | H2-H3.5 measurements with standard caliper internal jaws are indicative. Gauge pins are preferred where traceable bore measurement is required.
Z edge pads | Enter total thickness from coupon underside to pad top. Workbook subtracts measured base thickness.
Error | Mean measured minus nominal. Negative = undersize; positive = oversize.
Comparison summary | Use group MAE together with C12 axial variation to distinguish general scale error from geometry- and height-dependent process behaviour.